## Sheet1
ENERGY AUDIT WORKSHEET
[Organization Name] – [Facility Name]
|  | Grouping Title |  | Grouping Title
|  | Section | Section | Section | Section
Description
Dimensions
Lighting | Number and Type(s) of Fixtures
Bulb Count
Hours of Use (estimate)
Sensors (yes/no)
Issues
Key contact name & date
Notes
HVAC | Main Heating Source
Supplemental Heating
Fans
Comfort
Blocked/alterered vents
Issues
Key contact name & date
Notes
Computers | # and type of Computers | Desktops- Laptops- | Desktops- Laptops- | Desktops- Laptops- | Desktops- Laptops-
Smart Strips
Hours of Use
Printers, etc.
Power Settings
Key contact name & date
Notes
Motors | Number and HP Ratings
Speed Control
Issues (Heat, Noise, Maintenance)
Key contact name & date
Notes
Pumps | Number and HP Ratings
Balancing Issues
Issues (Heat, Noise, Maintenance)
Key contact name & date
Notes
Fans | Number and HP Ratings
Issues
Key contact name & date
Notes
Compressed Air | Pressure Setting & Line Size
Leaks
Inappropriate Uses?
Shut-off valve
Issues
Key contact name & date
Notes (Special equipment requirements)
Boilers/Hw | Temperature/ Pressure
Maintenance Record
Steam Traps
Leaks
Insulation
Issues
Key contact name & date
Refrigeration | Notes
SpecialtyEquipment | Description
Hours of Use
Insulation
Issues
Key contact name & date
Notes